Exquisite Heat Controller Program Sheet

Factory Software settings: If you desire a different setting cross out the factory setting and write in your desired setting. Please fill in all contact information so we can call and speak to you. You can copy and paste this information to e-mail, (preferred) or print and mail to: Exquisite Heat, 31 Brookdale Rd, Putnam Valley, NY 10579. e-mail [Exquisiteheat@yahoo.com](mailto:Exquisiteheat@yahoo.com),

Tel: 914-588-4791 to discuss these features. We can Zoom. E-mail for invite.

Multi Family Building: # of Apts \_\_\_\_\_\_\_\_\_\_ # of floors \_\_\_\_\_\_\_\_ # of Radiators \_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_ Steam \_\_\_\_\_ Hydronic \_\_\_\_\_\_ Boiler BTU output \_\_\_\_\_\_\_\_\_

Gas fired \_\_\_\_ Oil fired \_\_\_\_\_ Heating Load \_\_\_\_\_\_\_\_\_\_ BTU’s see radiator sizing chart

Residential: \_\_\_\_\_ Steam \_\_\_\_ Hydronics \_\_\_\_\_\_ Gas: \_\_\_\_\_ Oil: \_\_\_\_

Thermostat being used Brand \_\_\_\_\_\_\_\_\_\_\_\_\_\_ Model \_\_\_\_\_\_\_\_\_\_\_\_\_

Zone Control: Brand \_\_\_\_\_\_\_\_\_\_Model \_\_\_\_\_\_\_\_\_\_ # Zones \_\_\_\_\_\_\_\_\_

Domestic Hot water Source: Separate \_\_\_\_ Tankless Coil \_\_\_\_ Indirect \_\_\_\_\_\_\_\_

Boiler BTU output -\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Building BTU Load \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Is boiler oil fired with proper nozzle? Yes \_\_\_\_ No \_\_\_\_ Current nozzle \_\_\_\_\_\_\_

**Time** control menu: Steam Boilers and HVAC hot air

Startup On Time = 60 min.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Max On Time = 120 min.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Min On Time = 20 min.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Min Off Time = 15 min.\_AC:7min\_\_\_\_\_\_\_\_\_\_\_\_\_

High Temp Safety = 190F deg.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Temperature control menu: Hydronic Boilers

Start up Temperature = 160 F \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Maximum Temperature = 190 F \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Absolute low temp at sensor = 130F \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Condensing boilers = 90F \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Temperature differential = 15F \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

High Temp safety = 210F \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Suggest a change in these settings for special situations. Call Tech to discuss.

.

Please complete all information: Today’s date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Company Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ E-mail: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Town: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

State: \_\_\_\_\_\_\_\_\_\_\_\_ Zip code:\_\_\_\_\_\_\_\_\_ Contact Name \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Tel: Area code: \_\_\_\_ Tel# \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Cell: AC \_\_\_\_\_ Tel# \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Now save this form so you can use it over and over**. Rev. 4-13-25